THE INFORMATION PROVIDED IS BELIEVED TO BE CORRECT BUT DOES NOT PURPORT TO BE ALL INCLUSIVE AND SHALL BE USED ONLY AS A GUIDE.  POLYMEDCO, INC. SHALL NOT BE HELD LIABLE FOR ANY DAMAGE RESULTING FROM HANDLING OR CONTACT WITH THE ABOVE PRODUCT.

R&D Director: _______________________________    Date: ____________________

# General Information

| Chemical Name & Synonyms: NOT APPPLICABLE | Trade Name & Catalog Number: ## Poly stat hCG Test Catalog Number: HCG25 |
| --- | --- |
| Chemical Family: In Vitro Diagnostic Test Kits | Formula: NOT APPLICABLE |
| Proper DOT Shipping Name: NOT APPLICABLE | DOT Hazard Classification: NOT APPLICABLE |
| Contact: Polymedco, Inc 510 Furnace Dock Road Cortlandt Manor, NY 10567 | Contact Phone Number: (914) 739-5400 Contact Fax Number: (914)-739-0306 Poison Control Center: 1-800-876-4766 |

# Ingredients

| Item | Percent | Threshold Limit Value (units) |
| --- | --- | --- |
| Test Device- Sodium Azide- CAS #26628-22-8 | >0.0001% | OSHA PEL 0.3 mg/cubic meter CL ACGIH TLV: TWA Ceiling limit 0.1ppm |

# Physical Data

| Boiling Point (C) Sodium Azide: Not Available | Specific Gravity (Water at 1.0) Sodium Azide: 1.850 |
| --- | --- |
| Vapor Pressure (mm Hg): NOT APPLICABLE | Percent Volatile by Volume (%): NOT APPLICABLE |
| Vapor Density (Air at 1.0): NOT APPLICABLE | Evaporation Rate: NOT APPLICABLE |
| Appearance: Off-white test device | Odor: NONE KNOWN |

# Fire and Explosion Data

| Flash Point (Test Method): NOT APPLICABLE | Auto Ignition Temperature (F): NOT APPLICABLE |
| --- | --- |
| Flammable Limits: NOT APPLICABLE | LEL: NOT APPLICABLE UEL: NOT APPLICABLE |
| Extinguishing Media: Sodium Azide: Dry Chemical Powder | Unusual Fire / Explosive Hazards: NONE KNOWN |
| Special Fire-Fighting Procedures: NON-FLAMMABLE |  |

1 of 2

# Health Hazard Data

| Medical Condition Aggravated by Exposure: Eyes/Skin Hypersensitivity | Primary Route(s) of Entry: Eye and Skin contact; Ingestion, Inhalation |
| --- | --- |
| FIRST AID: Sodium Azide: Immediately flush eyes or skin with copious amounts of water for at least 15 minutes while removing contaminated clothing and shoes. Assure adequate flushing of the eyes by separating the eyelids with fingers. If inhaled, remove to fresh air. If not breathing, give artificial respiration. If breathing is difficult, give oxygen. If swallowed, wash out mouth with water provided person is conscious. Wash contaminated clothing before reuse. Discard contaminated shoes. IN ALL CASES, CALL A PHYSICIAN OR POISON CONTROL CENTER (SEE PHONE NUMBER IN SECTION I) |  |

# Reactivity Data

| Stability: STABLE | Conditions to avoid: NONE KNOWN |
| --- | --- |
| Incompatibility: NONE KNOWN | Materials to avoid: AROMATIC HYDROCARBONS |
| Hazard Polymerization: WILL NOT OCCUR | Hazardous Decomposition Products: NONE KNOWN |

# Environmental Protection Procedures

| Spill Response Procedures: Wear appropriate personal protective equipment, including but not limited to protective eyewear, clothing and gloves. Clean up with soap and water. | Waste Disposal Method: Normal Disposal Container Liquids: Wash down drain and flush with excess water |
| --- | --- |

# Handling and Special Protection Information

| Eye Protection: Wear safety glasses or full face shield | Skin Protection: Wear protective clothing and gloves. Remove all clothing if contaminated |
| --- | --- |
| Respiratory: NONE REQUIRED | Ventilation: NORMAL |
| Other Precautions: NOT NEEDED |  |

# Special Precautions

Hygienic Practices in Handling and Storage: Storage Conditions per Package Insert Instructions

Precautions For Repair and Maintenance of Contaminated Material: NOT APPLICABLE

Other Precautions: For In Vitro Diagnostic Use Only. Do not use internally. Do not apply to eyes or skin, ingest or inhale. Do not mix reagents from different lots.

2 of 2